| SAFE WORK PRACTICE |
| --- |
| TITLE | Grating Removal (Barricade) |
| GENERAL | Protecting workers from injuries associated with removal of grating floors or sections of floors |
| APPLICATION | Removal of partial or whole grating floors is an integral part of maintenance of equipment |
| PROTECTIVE MECHANISMS | Permit system PPE Barricades (see photo) Safe work procedure ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | To facilitate and/or provide proper instruction to their workers on protection requirements and training Hazard assessment Worksite inspection |
| WORKER RESPONSIBILITY | Ensure you are conversant with safe work procedures Install barricades IMMEDIATELY after any removal of grating Ribbon off hazardous area |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |

With the channel iron cut in the method shown in the picture it can be slipped into the grating and locks solidly in place. The chain slips onto hooks to allow for various distance between posts.