| SAFE WORK PRACTICE |
| --- |
| TITLE | Pipeline tie-ins |
| GENERAL | Protecting workers from injuries associated with tie-in operations |
| APPLICATION | When a new line has been installed and tested, it is connected to an existing pressurized mainline, often in a restricted excavation. |
| PROTECTIVE MECHANISMS | Safe work procedure Permit system Equipment maintenance procedures PPE Barricades and warning signs ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Work site inspection Hazard analysis Determine type of equipment |
| WORKER RESPONSIBILITY | Regularly inspect equipment. Remain within the operator’s line of vision. Watch for moving equipment. Keep flammable materials away from areas where welding is being performed. Ensure proper placement of skids. Inspect slings before use. Check field records for existing mains. Be aware of pressure in the existing gas main. Do not ride on equipment unless appropriate seating is available. Be conversant with procedures. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |