| SAFE WORK PRACTICE |
| --- |
| TITLE | Use Of Portable Fire Extinguishers |
| GENERAL | Protecting workers from injuries associated with IMPROPER use of fire extinguishers |
| APPLICATION | Portable fire extinguishers must be installed, inspected and maintained on a regular basis to ensure proper operation in an emergency. |
| PROTECTIVE MECHANISMS | Safe work procedure Alberta Fire Code Manufacturers recommendations PPE |
| SELECTION AND USE | As per safe work procedure Alberta fire code Manufacturers recommendations |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Proper selection of equipment Conversant with proper regulations |
| WORKER RESPONSIBILITY | Ensure you are fully trained with operation and maintenance of fire extinguishers. Check Cylinder. Inspect cartridge puncture cap. Weigh cartridge. With cartridge removed, check action of puncture lever. Check hose and nozzle for obstruction. Check date of manufacture. Check level and condition of powder. Check fill-cap threads and gasket. Attach visual seal. Check Pressure Gauge. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |