| SAFE WORK PRACTICE |
| --- |
| TITLE | Working on Live Electrical Apparatus |
| GENERAL | Protecting workers from injuries associated with working on live electrical systems |
| APPLICATION | Electrical apparatus, equipment and circuits shall be designed and operated in accordance with the Canadian Electrical Code. |
| PROTECTIVE MECHANISMS | Safe job procedure Permit system P.P.E E.R.P. [Emergency Response Plan] |
| SELECTION AND USE | As per job requirement |
| SUPERVISOR RESPONSIBILITY | To facilitate and/or provide proper instruction to their workers on protection requirements and training |
| WORKER RESPONSIBILITY | When working on connections, shut off power if possible. Ensure what amperage and voltage you are working on. Electrical installations should be carried out by a properly trained and qualified journeyman or registered apprentices. Two or more journeyman should work together on any energized circuit with a potential to 480 volts or more between conductors. Remove panel covers with care, ensuring cover screws or panel space fillers are removed. Ensure ladders are made of non-conductive materials. Be conversant with E.R.P. (Emergency Response Plan). |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |